| 題名: | Virtual Instrumentation and Educational Platform for Time-Varying Harmonics and Interharmonics Detection |
| --- | --- |
| 作者: | C. I Chen;G. W. Chang |
| 關鍵詞: | Frequency identification;discrete Fourier transform;harmonics;interharmonics;power quality |
| 日期: | 2010 |
| 上傳時間: | 2010-04-15T05:42:31Z |
| 摘要: | Selection of a suitable method among various techniques for assessment of harmonic and interharmonic components of a measured voltage or current waveform is not an easy task for the students. A good start is to understand the relationship between the analysis techniques and the measured parameters. In this paper, several commonly used methods for time-varying harmonics and interharmonics detection of measured waveforms are reviewed and implemented in an integrated virtual instrumentation. Compared from the aspect of frequency identification for the reviewed methods, general guidelines for performing harmonics and interharmonics detection are also developed for the educational purpose. |